FIRE EMERGENCY PLAN

Insert logo or type business name

Change History

| Issue | Date | Reviewed by | Changes |
| --- | --- | --- | --- |
| 001 | Insert date | Insert name | First release following FRA recommendations |

How occupants are warned:

- The type of fire warning system in the premises (fire alarm, rotating bell / gong, air horn, shouting FIRE etc.) - How it alerts people - The location of detectors and manual call points - Insert floor plans of manual call points and detectors if available or create them (consider online evacuation floor plan creators)

Fire-fighting arrangements

- Portable fire-fighting equipment (e.g. fire extinguishers and fire blankets) - Fixed fire-fighting equipment / suppression systems (e.g. water sprinkler systems) - Any built-in (if relevant) fire suppression systems in work equipment / plant - Insert map indicating the location of fire-fighting equipment

Location of fire assembly point

- Insert photo(s) - Insert map

Persons with fire safety functions and their contact numbers

- Name of fire coordinator (the person handling the situation and communicating to the fire and rescue services when they arrive) - Names of deputy fire coordinators in the absence of the fire contractor - Names of fire marshals - Names of any other relevant people that may aid with the fire evacuation such as maintenance staff - Describe what roles they take in the event of a fire - Insert contact numbers

What action people should take in the event of a fire

- On discovering a fire, you should immediately alert others by activating the nearest manual call point / rotating bell using the air horn / shouting “FIRE”. - Shout “Fire” if necessary to alert people nearby. - If you are responsible for assisting individuals with a Personal Emergency Evacuation Plan (PEEP), follow the actions outlined in their plan as required during an evacuation. If not, then: - - Evacuate the building by leaving via the nearest exit. - Close all fire doors during your way to the nearest fire exit. - Do not stop for your personal belongings. - Do not use lifts. - Proceed to the designated fire assembly point - Report your presence to your fire marshal or manager. - Inform them of any missing persons or anyone who may still be inside. - Do not re-enter the building unless authorised to so by the fire and rescue service or [insert name]

When to fight a fire

- You must only use a fire extinguisher for escape purposes, for instance when evacuating a building and the exit route is blocked by fire. - For other fires, fire marshals or those that are trained to use a fire extinguisher, may fight the fire if it is small and contained, for example not larger than a small paper waste bin fire.

Arrangement for calling the fire and rescue service

- Details of how the fire and rescue services are called - Details of any automatic calling system

Isolations

- Any actions required to safeguard the situation by isolating hazardous plant or equipment, gas supply or electricity supply - Details of how to isolate and who will do it - Insert maps and photos if available

Fire alarm panel

- Who will check the fire panel? - What is their next step? - What do they do with the information? - Who is responsible for silencing and resetting the panel and on what occasions?

Measures to check occupants have evacuated the building

Insert information of how the building is checked, this typically includes a fire sweep by the fire marshals or a roll call system. - The process of ‘roll call’ which is checking the names against a register and confirming that the premises have been evacuated: - Information of how the list of names are obtained including contractor and visitor information - How the list remains up-to-date - The roll call must be carried out in a place of safety, such as the assembly point - Who are the people or person that conducts the roll call? - The ‘fire sweep’ system is allocating designated persons to check an area whilst they are evacuating the building - The fire marshal is allocated an area to sweep in the event of the fire - Once the sweep is done, they report back to the fire coordinator at the fire assembly point. - If they notice a fire from a distance, they must not put themselves in danger. They should evacuate the building immediately and report their observations to the fire coordinator.

Emergency service liaison procedures

- Who will liaise with the emergency services on arrival? - What information will they have and how will they get it? - How will the person, identified above, direct the emergency services to the emergency? - i.e. will they meet them at the gate or at a pre-determined place? - How will the emergency services be able to identify this person? e.g. hi-viz vest, armband etc - If anyone is missing and where they were last seen

High risk areas

- Enter information, photos and maps of high-risk areas including flammable chemical storage and use, boiler room, generators, gas storage and high-risk work processes.

Vulnerable people and those with disabilities

Individuals identified as requiring additional support during an evacuation, including those with disabilities or other vulnerabilities, will have a Personal Emergency Evacuation Plan (PEEP) developed to meet their specific needs. PEEPs will be prepared by [Insert Name] and reviewed regularly, or sooner if there are any significant changes in circumstances. A copy of each PEEP will be retained and made available at [Insert Location] to ensure relevant staff can assist appropriately in the event of an emergency.

| Training record |  |  |
| --- | --- | --- |
| Fire Emergency Plan | Issue: |  |

I have read, understood and have access to the Fire Emergency Plan above. I am fully aware of the procedures set out in the Fire Emergency Plan and know who to speak to if I have any concerns related to this document.

| Full name | Position | Sign | Date |
| --- | --- | --- | --- |